Important:

Setup Contact Closure in your method:

Open your method, select Waters nanoAcquity/ACQ-nBSM/Events

- Change initial Switch status 1: to Off

- Check Run Events (it should be checked by default)

- Add time 0.01 	  Switch 1       	Off

- Add time 0.05 	  Switch 1 	On

- Add time 0.1 	  Switch 1 	Off

- Save the method