## DDA
Astral software version 1.1
DDA | TMT | Crosslinking |  |  |  | Immunopeptidomics
|  | Cleavable |  |  | non cleavable | MHC DDA Class I |  | MHC DDA Class II
|  | SCE HCD | Charge dependend NCE |  |  | high load | low load | high load | low load
Method length | 90 min | 65 min | 65 min |  | 65 min | 72 min | 72 min | 72 min | 72 min
Full scan
Analyzer | OT | OT | OT |  | OT | OT | OT | OT | OT
Resolution | 120k | 180k | 180k |  | 180k | 120k | 120k | 120k | 120k
mz range | 400-1500 | 400-1400 | 400-1400 |  | 400-1400 | 350-800 | 350-800 | 120-1700 | 120-1700
RF lens | 50 | 40 | 40 |  | 40 | 45 | 45 | 45 | 45
AGC | 300 | 500 | 500 |  | 500 | 300 | 300 | 300 | 300
IT | 50 | 5 | 5 |  | 5 | 100 | 100 | 100 | 100
Microscans | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1
Data type | profile | centroid | centroid |  | profile | profile | profile | profile | profile
MS2
| DDA | DDA |  |  | DDA | DDA | DDA | DDA | DDA
DDA mode | cycle time | cycle time |  |  | cycle time | cycle time | cycle time | cycle time | cycle time
Time (sec) | 1 sec | 0.5 sec |  |  | 1 sec | 0.6 sec | 0.6 sec | 0.6 sec | 0.6 sec
Isolation window | 0.5 | 1.6 | 1.6 | 1.6 | 1.6 | 1 | 2 | 1 | 2
Window offset | Off | Off | Off | Off | Off | Off | Off | Off | Off
Collision engergy type | normalized | normalized | normalized | normalized | normalized | normalized | normalized | normalized | normalized
HCD collision energy | 35 | 20, 28, 32 | 32 | 28 | 32 | 29 | 29 | 29 | 29
Detector type | Astral | Astral | Astral | Astral | Astral | Astral | Astral | Astral | Astral
TMT | On | Off | Off | Off | Off | Off | Off | Off | Off
Scan Range (mz) | 110-2000 | 150-2000 | 150-2000 | 150-2000 | 150-2000 | 110-1500 | 110-1500 | 110-1500 | 110-1500
AGC target | 100 | 500 | 15 | 15 | 500 | 30 | 30 | 30 | 30
IT | 20 | 20 | 100 | 100 | 20 | 100 | 100 | 100 | 100
Microscans | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Data type | Centroid | Centroid | Centroid | Centroid | Centroid | Centroid | Centroid | Centroid | Centroid
Precurso selection range | 400-1500
MIPS | peptide | peptide | peptide | peptide | peptide | peptide | peptide | peptide | peptide
Relax restrictions | on | on | on | on | on | off | off | off | off
Intesity | 5000 | 10000 | 10000 |  | 10000
Precursor Fit | 50%, 1.2mz
Charge Stage | 2-6 | 3-8 | 3 | 4-8 | 3-8 | 2-4 | 2-4 | 2-6 | 2-6
Dynamic Exclusion
Share dynamic excl list | custom | custom | custom |  | custom | custom | custom | custom | custom
Mode
Exclude after n times | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Exclusion duration | 30 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
Mass tolerance | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
Low | 5 | 20 | 20 | 20 | 20 | 5 | 5 | 5 | 5
High | 5 | 20 | 20 | 20 | 20 | 5 | 5 | 5 | 5
Exclude isotopes | on | on | on | on | on | on | on | on | on
Perform dependent scan on single charge state | off | off | off | off | off | on | on | on | on