## DIA
Astral software version 1.1
DIA | low load single cell (LSC) | [5 empty] | Label-Free Quan | Plasma Profiling | System Evaluation | Immunopeptidomics MHC Class I
| single cell | <250 pg | 250-1000 pg | 1-2 ng | 2-5 ng | 5-10 ng |  |  |  | high load | low load
Method length | 25 min | 25 min | 25 min | 25 min | 25 min | 25 min | 24 min | 24 min | 7 min | 72 min | 72 min
Full scan
analyzer | OT | OT | OT | OT | OT | OT | OT | OT | OT | OT | OT
resolution | 240k | 240k | 240k | 240k | 240k | 240k | 240k | 240k | 240k | 120k | 120k
mz range | 400-800 | 400-800 | 400-800 | 400-800 | 400-800 | 400-800 | 380-980 | 380-980 | 380-980 | 350-800 | 350-800
RF lens | 45 | 45 | 45 | 45 | 45 | 45 | 40 | 40 | 40 | 45 | 45
AGC | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 300 | 300
IT | 100 | 100 | 100 | 100 | 100 | 100 | 5 | 10 | 3 | 100 | 100
microscans | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
data type | profile | profile | profile | profile | profile | profile | profile | profile | profile | profile | profile
MS2
| DIA | DIA | DIA | DIA | DIA | DIA | DIA | DIA | DIA | DIA | DIA
precursor mass range | 400-800 | 400-800 | 400-800 | 400-800 | 400-800 | 400-800 | 380-980 | 380-980 | 380-980 | 350-800 | 350-800
DIA window | auto | auto | auto | auto | auto | auto | auto | auto | auto | auto | auto
isolation window | 20 | 20 | 20 | 10 | 8 | 5 | 2 | 3 | 2 | 4 | 4
window overlap | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window placement optimization | On | On | On | On | On | On | On | On | On | On | On
Number of scan events | 19 | 19 | 19 | 39 | 49 | 79 | 299 | 199 | 299 | 112 | 112
DIAWindow Mode | mz range | mz range | mz range | mz range | mz range | mz range | mz range | mz range | mz range | mz range | mz range
Collision engergy type | normalized | normalized | normalized | normalized | normalized | normalized | normalized | normalized | normalized | normalized | normalized
HCD collision energy | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 29 | 29
Detector type | Astral | Astral | Astral | Astral | Astral | Astral | Astral | Astral | Astral | Astral | Astral
TMT | Off | Off | Off | Off | Off | Off | Off | Off | Off | Off | Off
Scan Range (mz) | 150-2000 | 150-2000 | 150-2000 | 150-2000 | 150-2000 | 150-2000 | 150-2000 | 150-2000 | 150-2000 | 100-1000 | 100-1000
RFLens (%) | 45 | 45 | 45 | 45 | 45 | 45 | 40 | 40 | 40 | 45 | 45
AGC target | 800 | 800 | 800 | 800 | 800 | 800 | 500 | 500 | 500 | standard | standard
IT | 60 | 60 | 40 | 20 | 14 | 10 | 3 | 7 | 3 | 3 | 3
microscans | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
data type | centroid | centroid | centroid | centroid | centroid | centroid | profile | profile | centroid | centroid | centroid
Loop Control | Time | Time | Time | Time | Time | Time | Time | Time | Time | Time | Time
Time (sec) | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6